## LINE SIZE CALCULATION
LET SAY WE NEED TO CALCULATE THE LINE SIZE FOR WATER BY PRSSURE DROP
INPUTS
ANS
| Q | 100 | M3/HR
| RHO | 1000 | KG/M3
| P1 | 10 | BAR
| P2 | 9.5 | BAR
| AVILABLE DELTA P | 0.5 | BAR
Q=VA
| Q | 0.027778 | M/SEC
| LET SAY VELOCITY | 2.5 | M/SEC
| 0.027778 | = | 2.5 | * | π/4 | d2
| 0.011111 | = | π/4 | d2
| 0.044444 | = | π | d2
| 0.014154 | = | d2
[6 empty] | 4.6839 | INCH
SELECTED ID OF PIPE | d | = | 0.11897 | MTR |  | 118.9718 | MM

## Sheet1
LET SAY WE NEED TO CALCULATE THE LINE SIZE FOR WATER BY PRSSURE DROP
INPUTS
ANS
| Q | 100 | M3/HR
| RHO | 1000 | KG/M3
| P1 | 10 | BAR
| P2 | 9.5 | BAR
| AVILABLE DELTA P | 0.5 | BAR
Q=VA
| Q | 0.027778 | M/SEC
| LET SAY VELOCITY | 2.5 | M/SEC
| 0.027778 | = | 2.5 | * | π/4 | d2
| 0.011111 | = | π/4 | d2
| 0.044444 | = | π | d2
| 0.014154 | = | d2
[6 empty] | 4.6839 | INCH
SELECTED ID OF PIPE | d | = | 0.11897 | MTR |  | 118.9718 | MM